## Description noeud
Numero du noeud | Type | X | Y | NOS reseau initial | NOS reseau final | P (pu) | Q(pu)
1 | Secondary substation | 2 | 1.5 | 1 | 0 | 0.02 | 0.008
2 | Secondary substation | 4.5 | 1.5 | 0 | 0 | 0.037174 | 0.01487
3 | Secondary substation | 2 | -1.5 | 0 | 1 | 0.01381 | 0.0055238
4 | Secondary substation | 3.5 | 0 | 1 | 1 | 0.037401 | 0.014961
5 | Secondary substation | 3.5 | -3 | 0 | 0 | 0.028971 | 0.011588
6 | Secondary substation | 5.5 | -2 | 0 | 0 | 0.012926 | 0.0051705
7 | Primary substation | 0 | 0 | 0 | 0 | 0 | 0
8 | Primary substation | 7 | 0 | 0 | 0 | 0 | 0

## Lignes réseau initial
Noeud depart | Noeud arrivee | Ligne ouverte? | R(pu) | X(pu) | Imax (A)
7 | 1 | 0 | 0.5665 | 0.275 | 230
1 | 2 | 1 | 0.5665 | 0.275 | 230
2 | 8 | 0 | 0.66065 | 0.3207 | 230
7 | 3 | 0 | 0.5665 | 0.275 | 230
3 | 4 | 0 | 0.48069 | 0.23335 | 230
4 | 5 | 1 | 0.5665 | 0.275 | 230
5 | 6 | 0 | 0.50669 | 0.24597 | 230
6 | 8 | 0 | 0.5665 | 0.275 | 230

## Lignes réseau final
Noeud depart | Noeud arrivee | Ligne ouverte? | R(pu) | X(pu) | Imax (A)
7 | 1 | 0 | 0.5665 | 0.275 | 230
1 | 4 | 0 | 0.1 | 0.1 | 400
4 | 2 | 1 | 0.1 | 0.1 | 400
2 | 8 | 0 | 0.66065 | 0.3207 | 230
7 | 3 | 0 | 0.5665 | 0.275 | 230
3 | 5 | 1 | 0.1 | 0.1 | 400
5 | 6 | 0 | 0.50669 | 0.24597 | 230
6 | 8 | 0 | 0.5665 | 0.275 | 230

## Paramètres
Parametre | Valeur
Tension secondaire transformateur (pu) | 1
Sbase (MVA) | 100
Ubase (kV) | 20